PUBLIC NOTICE

FOR MORE INFORMATION, CONTACT:

Henry Vann

c/o Mount Olive – Town Hall

Sherry Davis – Administrative Assistant

Phone:  919-658-9539

Fax: 919-658-5257

Sanitary Sewer Overflow

Mount Olive, North Carolina, September 19, 2018

The North Carolina General Assembly enacted House Bill 1160 in July, 1999.  This Bill requires municipalities to release information to the public within 24 hours when a sanitary sewer overflow of 1,000 gallons or more reaches surface waters. It requires a Public Notice in addition to the Press Release if the discharge is more than 15,000 gallons.

In accordance with this, the following information is being sent to you:

The Town of Mount Olive has experienced a sanitary sewer overflow totaling approximately 1,122,000 gallons inside the Town’s wastewater treatment plant beginning on Sunday, September 16, 2018. This overflow began at approximately 12:30 PM and lasted until 8:30 AM Wednesday, September 19, 2018 and  was a result of  25 inches of rainfall over a 4 day period due to Hurricane Florence. The Town is currently working to resolve issues with inflow and infiltration into the sewer collections system and to address land applications issues at the wastewater treatment plant itself. Funding has been secured to address issues with the Town’s wastewater treatment plant.

The Division of Water Quality was notified of these spills on Sunday September 16, 2018.